## Overview
HHEAR Targeted Data Template Overview
All data should be input in multiple record ("long") format such that each analyte has metadata associated with it
A separate template can be used for each chemical group, e.g. phenols, phthalates.
The run template should be used (see example tab) to enter data/metadata on a run-by-run basis, and the Data Template (see example tabs) should be used to enter measurements by sample and analyte
In all cases, including measured values below LOD, report instrument derived values (with blank subtraction, if warranted)
Instructions for use:
Please read the "Description of Fields" tab for clear instructions on how data are to be input for each column.
RUN TEMPLATE: Should be used (see example tab) to report data/metadata on a run-by-run basis
DATA TEMPLATE:
Should be used (see example tab) to report measurements on a sample and analyte basis (one row represent a measurement of a single analyte for a single sample)
Measurements reported in a row can be one of the following: original sample concentration, repeated sample concentration, or QC sample concentration
Data are reported in multiple record ("long") format such that each analyte has its own row with associated metadata (LOD, units of concentration, comment)
The column "Analysis Mode" is used to indicate what type of data are reported in each row.
A separate Data Template can be used for each Analyte Panel, e.g. blood metals, urine metals, tissue, etc, but it is not required
EXAMPLES: Provide a visual representation of how the Run and Data Template should appear when filled in with reported results
Reports submitted to the HHEAR Data Center should only include:
Run Template
Data Template (separate Template can be used for each Chemical Group or Matrix)
Analyte Codes
Comment Codes
Reports submitted to the HHEAR Data Center should not include the follow tabs:
Overview (this tab)
Description of Fields
Run Example
Data Example

## Description of fields
HHEAR Targeted Data Template Description of Fields
RUN TEMPLATE
| Column Header | Description
| HHEAR Project ID | HHEAR CC issued unique project ID
| Chemical Group Code | Unique descriptor (see Analyte Code Tab) designating the chemical group being assayed
| LAB ID | The Standard HHEAR Lab ID, indicating the lab that is conducting the analysis
HT1: Duke HHEAR Environmental Analysis Laboratory
HT2: Minnesota HHEAR Targeted Analysis Laboratory
HT3: Mount Sinai HHEAR Targeted Analysis Laboratory
HT4: Wadsworth HHEAR Targeted Analysis Laboratory
| Assigned Date | The date when an analysis was assigned to a lab by CC
| Run ID | A unique ID that a Lab uses to identify a run, e.g. one run can represent one day or every time the machine is turned on and off. An analysis may need more than one run. | Note: Do not enter a unique run ID per sample
| Analytic Methods | A code designating the procedural template followed by the laboratory in the measurement of these samples
| Run Start Date Time | Date-Time stamp: the date when analysis started: MM/DD/YY and the time when analysis started: HH:MM (24 hour clock)
| Run End Date Time | Date-Time stamp: the date when analysis completed: MM/DD/YY and and the time when analysis completed: HH:MM (24 hour clock)
| Run Notes | Any notes relevant to a specific run
| Instrument | Vendor and model
| Instrument SN | Manufacturer's serial number for the instrument
| Sample Preparation Start Date Time | Date-Time stamp: The date when the sample preparation started: MM/DD/YY and the time sample preparation started HH:MM (24 hour clock)
| Sample Preparation End Date Time | Date-Time stamp: The date when the sample preparation completed: MM/DD/YY and the time sample preparation completed HH:MM (24 hour clock)
| Sample Preparation Notes | Deviations from the SOP, observations
| Sample Prepared By | Name or ID of the person who prepared the sample
| Data Review Date | The date when data review was completed
| Result File | Full path of results file name - Lab Hub local file storage location
| Result File Format | Format of the results file
| Result Submission Date | Date when the data is submitted to HHEAR DC
| Result Submitter | The HHEAR DC login ID of the submitter
| Analysis Panel Dictionary File Name | The corresponding data dictionary file name for this analysis panel
| Calibration File | Full path of calibration file name - Lab Hub local file storage location of the proprietary file or collection of proprietary files created by the ICP-MS instrumentation software for each analytical run.
DATA TEMPLATE
| Column Header | Description
| Analysis Mode | This variable describes the type of values reported in the data template.
Please use the following labels according to their definitions:
SAMPLE: if the row contains concentrations from the study sample or blinded QC sample, e.g. HHEAR QC pool sample
QC: If the row contains internal quality control data
REPEAT: if the row contains data for a QC repeat of a sample
| SID | If Analysis Mode is 'SAMPLE' or 'REPEAT': HHEAR unique identifier for a study biological sample, issued by the DC If Analysis Mode is 'QC': ID provided by Lab Hub
| Run ID | A unique ID that a Lab uses to identify a run, e.g. one run can represent one day or every time the machine is turned on and off. An analysis may need more than one run. | NOTE: This 'Run ID' must exactly match the 'Run ID' entered in the Run Template
| LH Accession No | A unique ID (accession number) assigned by the testing Lab Hub to identify each new sample received for analysis
| Sample Matrix | Classification of the sample matrix, e.g. urine, serum, cord blood. HHEAR CC, DC, and LH will use a list of common types
| Analyte Code | Unique ANALYTE CODE representing analyte concentration reported in "Concentration" column (e.g., MEHP, MEP, COT, etc.; see Analyte Codes tab)
| Concentration | Measured concentration of the analyte. Include measured values below LOD, report instrument derived values (with blank subtraction, if warranted) | NOTE: Truncate values to reflect the precision of measurement
| LOD | Batch-specific LOD value for the analyte in this analysis
| Required Units | Common units of measured concentration, e.g. ng/mL (see Analyte Codes tab for required units for each analyte)
| Comment Code | This column will contain the code corresponding to the issues or occurences associated with each sample for the specific measurment of the analyte (see Comment Code tab for codes)
ANALYTE CODE
| Column Header | Description
| Full Chemical Group Name | Full name of the analytic chemical group
| Chemical Group Code | Code to indicate the analysis panel: sample matrix, the analysis, and the grouping of the analyses, for example:
UPEST: Alkyl phosphate pesticide metabolites
SPFAS: Perfluoroakyl and Polyfluoroalkyl Substances
| Full Analyte Name | Full name of the analyte
| Analyte Code* | Unique abbreviation to be used in the Data Template as the column header for the measured concentration
| CAS# | CAS # associated with a given analyte
| Units | Units required for submission to CHEAR for a given analyte
* If an analyte is not represented on the CHEAR Analyte Code list, please add analyte information to listing, create new analyte code^, and highlight
^ Guidelines for new analyte codes:
1) Ensure not to duplicate any other analyte codes in the analyte code list; exceptions made for trace elements
2) Ensure codes are short; limit to 11 characters or less
3) Do not start codes with a number; ABC12 is fine, 12ABC is not
4) Do not use greek, roman, or special characters; characters restricted to A to Z with no spaces or dashes
5) Please use all caps; exceptions made for trace elements

## Run Template
HHEAR Project ID | Chemical Group Code | Lab ID | Assigned Date | Analytic Methods | Run ID | Run Start Date Time | Run End Date Time | Run Notes | Instrument | Instrument SN | Sample Preparation Start Date | Sample Preparation End Date | Sample Preparation Notes | Sample Prepared By | Data Review Date | Result File | Result File Format | Result Submission Date | Result Submitter | Data Dictionary File Name | Calibaration File

## Data Template
Analysis Mode | SID | Run ID | LH Accession No | Sample Matrix | Analyte Code | Concentration | Units | LOD | Comment Code

## Run Example
HHEAR Project ID | Chemical Group Code | Lab ID | Assigned Date | Analytic Methods | Run ID | Run Start Date Time | Run End Date Time | Run Notes | Instrument | Instrument SN | Sample Preparation Start Date | Sample Preparation End Tate | Sample Preparation Notes | Sample Prepared By | Data Review Date | Result File | Result File Format | Result Submission Date | Result Submitter | Data Dictionary File Name | Calibaration File
Pilot-001 | UPHTH | LH1 | 2016-01-01 | PTHAL_em2 | B-1 | 2016-01-07 13:00 | 2016-01-07 18:00 | smooth run | Agilent 7010 Triple Quadrupole GC/MS | GCMS201617 | 2016-01-07 10:00 | 2016-01-07 10:30 | all samples look normal | technician 1 | 2016-01-07 20:00 | N:\desktop\HHEAR\Pilot_0001\EM-01072016a.xlsx | Excel | 2016-01-08 | Lab manager 1 | N:\desktop\HHEAR\Pilot_0001\EM-OC-DD.xlsx | N:\desktop\CHEAR\Pilot_0001\20160107-Cal.xlsx
Pilot-001 | UPHTH | LH1 | 2016-01-01 | PTHAL_em2 | B-2 | 2016-01-08 06:00 | 2016-01-08 13:00 | Room temperature slightly higher than normal | Agilent 7010 Triple Quadrupole GC/MS | GCMS201617 | 2016-01-07 10:00 | 2016-01-07 10:30 | all samples look normal | technician 1 | 2016-01-07 20:00 | N:\desktop\HHEAR\Pilot_0001\EM-01072016b.xlsx | Excel | 2016-01-08 | Lab manager 1 | N:\desktop\HHEAR\Pilot_0001\EM-OC-DD.xlsx | N:\desktop\CHEAR\Pilot_0001\20160107-Cal.xlsx
Pilot-001 | UPHTH | LH1 | 2016-01-01 | PTHAL_em2 | B-3 | 2016-01-08 14:00 | 2016-01-08 18:00 | smooth run | Agilent 7010 Triple Quadrupole GC/MS | GCMS201617 | 2016-01-07 10:00 | 2016-01-07 10:30 | all samples look normal | technician 1 | 2016-01-07 20:00 | N:\desktop\HHEAR\Pilot_0001\EM-01072016b.xlsx | Excel | 2016-01-08 | Lab manager 1 | N:\desktop\HHEAR\Pilot_0001\EM-OC-DD.xlsx | N:\desktop\CHEAR\Pilot_0001\20160107-Cal.xlsx
Pilot-001 | UPHTH | LH1 | 2016-01-01 | PTHAL_em2 | B-4 | 2016-01-21 12:00 | 2016-01-21 17:00 | smooth run | Agilent 7010 Triple Quadrupole GC/MS | GCMS201617 | 2016-01-21 10:00 | 2016-01-21 10:30 | all samples look normal | technician 1 | 2016-01-07 20:00 | N:\desktop\HHEAR\Pilot_0001\EM-01072016b.xlsx | Excel | 2016-01-08 | Lab manager 1 | N:\desktop\HHEAR\Pilot_0001\EM-OC-DD.xlsx | N:\desktop\CHEAR\Pilot_0001\20160107-Cal.xlsx

## Data Example
Analysis Mode | SID | Run ID | LH Accession No | Sample Matrix | Analyte Code | Concentration | Units | LOD | Comment Code
SAMPLE | C-WHT29-U-00 | B-1 | 2016XXXXXX | Urine | MEP | 0.022564 | ng/mL | 0.05 | 37
SAMPLE | C-WHT29-U-00 | B-1 | 2016XXXXXX | Urine | MBP | 0.32113 | ng/mL | 0.15 | 0
SAMPLE | C-WHT29-U-00 | B-1 | 2016XXXXXX | Urine | MIBP | 0.13214 | ng/mL | 0.1 | 0
QC | QC Low | B-1 |  | Urine | MEP | 0.1303 | ng/mL | 0.05 | 0
QC | QC Low | B-1 |  | Urine | MBP | 0.68687 | ng/mL | 0.15 | 0
QC | QC Low | B-1 |  | Urine | MIBP | 0.55556 | ng/mL | 0.1 | 0
QC | QC Med | B-1 |  | Urine | MEP | 0.35354 | ng/mL | 0.1 | 0
QC | QC Med | B-1 |  | Urine | MBP | 0.46465 | ng/mL | 0.15 | 0
QC | QC Med | B-1 |  | Urine | MIBP | 0.55556 | ng/mL | 0.1 | 0
SAMPLE | C-W8T99-U-00 | B-2 | 2016XXXXXX | Urine | MIBP | 0.63121 | ng/mL | 0.1 | 0
SAMPLE | C-W8T99-U-00 | B-2 | 2016XXXXXX | Urine | MCPP | 0.65465 | ng/mL | 0.1 | 0
SAMPLE | C-RGT37-U-00 | B-2 | 2016XXXXXX | Urine | MCPP | 0.73422 | ng/mL | 0.1 | 0
QC | QC Med | B-2 |  | Urine | MEP | 0.11111 | ng/mL | 0.05 | 0
QC | QC Med | B-2 |  | Urine | MBP | 0.35354 | ng/mL | 0.15 | 0
QC | QC Hi | B-2 |  | Urine | MEP | 0.24242 | ng/mL | 0.05 | 0
QC | QC Hi | B-2 |  | Urine | MBP | 0.41414 | ng/mL | 0.15 | 0
QC | QC Med | B-2 |  | Urine | MIBP | 0.75758 | ng/mL | 0.1 | 0
QC | QC Hi | B-2 |  | Urine | MIBP | 0.86869 | ng/mL | 0.1 | 0
SAMPLE | C-PU7H6-U-00 | B-3 | 2016XXXXXX | Urine | MEP | 0.092564 | ng/mL | 0.05 | 0
REPEAT | C-W8T99-U-00 | B-3 | 2016XXXXXX | Urine | MIBP | 0.64121 | ng/mL | 0.1 | 0
REPEAT | C-W8T99-U-00 | B-3 | 2016XXXXXX | Urine | MCPP | 0.6278 | ng/mL | 0.1 | 0
REPEAT | C-WHT29-U-00 | B-3 | 2016XXXXXX | Urine | MBP | 0.29887 | ng/mL | 0.15 | 0

## Analyte Codes BIO
Full Chemical Group Name | Chemical Group Code | Full Analyte Name | Analyte Code | CAS # | Required Units | Notes
Alkyl phosphate pesticide metabolites | UPEST | 6-chloronicotinic acid | CINA6 | 5326-23-8 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | diethyldithiophosphate | DEDP | 298-06-6 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | diethylphosphate | DEP | 598-02-7 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | diethylthiophosphate | DETP | 5871-17-0 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | dimethyldithiophosphate | DMDP | 756-80-9 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | dimethylphosphate | DMP | 813-78-5 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | dimethylthiophosphate | DMTP | 59401-04-6 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 4-fluoro-3-phenoxybenzoic acid | FPBA | 77279-89-1 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 3-phenoxybenzoic acid | PBA | 3739-38-6 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 4-nitrophenol | PNP | 100-02-7 | ng/mL
Alkyl phosphate pesticide metabolites | UPEST | 3,5,6-trichloro-2-pyridinol | TCP | 6515-38-4 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4,4',6-Pentabromodiphenyl ether | BDE100 | 189084-64-8 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4,4',5,5'-Hexabromodiphenyl ether | BDE153 | 68631-49-2 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4,4',5,6'-Hexabromodiphenyl ether | BDE154 | 207122-15-4 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4'-Tribromodiphenyl ether | BDE17 | 147217-75-2 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',3,4,4',5',6-Heptabromodiphenyl ether | BDE183 | 207122-16-5 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',3,3',4,4',5,5',6,6'-Decabromodiphenyl ether | BDE209 | 1163-19-5 | ng/mL
Brominated Flame Retardants | PBFR | 2,4,4'-Tribromodiphenyl ether | BDE28 | 41318-75-6 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4,4'-Tetrabromodiphenyl ether | BDE47 | 5436-43-1 | ng/mL
Brominated Flame Retardants | PBFR | 2,3',4,4'-Tetrabromodiphenyl ether | BDE66 | 189084-61-5 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',3,4,4'-Pentabromodiphenyl ether | BDE85 | 182346-21-0 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4,4',5-Pentabromodiphenyl ether | BDE99 | 60348-60-9 | ng/mL
Brominated Flame Retardants | PBFR | 2,2',4,4',5,5'-Hexabromobiphenyl | PBB153 | 59080-40-9 | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | C-reactive protein | CRP |  | µg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Fms-related tyrosine kinase 3 ligand | FLT3L |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Granulocyte macrophage Colony stimulating factor | GMCSF |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | HAPTOGLOBIN | HAPTOGLOBIN |  | µg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interferon gamma | IFNG | 50812-37-8 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin 10 | IL10 | 130068-27-8 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin12P70 | IL12P70 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin13 | IL13 | 148157-34-0 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin15 | IL15 | D019409000 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin17A | IL17A |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin17E/IL25 | IL17EIL25 |  | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin 17F | IL17F |  | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin1B | IL1B |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin2 | IL2 | 110942-02-4 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin21 | IL21 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin22 | IL22 |  | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin23 | IL23 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin27 | IL27 |  | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin28A | IL28A |  | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin31 | IL31 |  | ng/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin33 | IL33 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin4 | IL4 | 207137-56-2 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin5 | IL5 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin6 | IL6 | 308067-66-5 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin-8 | IL8 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Interleukin9 | IL9 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Macrophage Inflammatory Protein-3A | MIP3A |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 1 | MMP1 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 10 | MMP10 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 2 | MMP2 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 7 | MMP7 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Matrix metalloproteinase 9 | MMP9 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | tissue inhibitor of metalloproteinase 1 | TIMP1 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | tissue inhibitor of metalloproteinase 2 | TIMP2 |  | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Tumor necrosis factor A | TNFA | 308079-78-9 | pg/mL
Cytokines and Other Inflammatory Markers | INFLAM | Tumor necrosis factor B | TNFB |  | ng/mL
Fatty Acids | PFACID | C14:0 | C140 | 544-63-8 | µmol/L
Fatty Acids | PFACID | C16:0 | C160 | 57-10-3 | µmol/L
Fatty Acids | PFACID | C16:1n7 | C161N7 | 373-49-9 | µmol/L
Fatty Acids | PFACID | C18:0 | C180 | 57-11-4 | µmol/L
Fatty Acids | PFACID | C18:1n7 | C181N7 | 506-17-2 | µmol/L
Fatty Acids | PFACID | C18:1n9 | C181N9 | 112-80-1 | µmol/L
Fatty Acids | PFACID | C18:2n6 | C182N6 | 60-33-3 | µmol/L
Fatty Acids | PFACID | C18:3n3 | C183N3 | 463-40-1 | µmol/L
Fatty Acids | PFACID | C18:3n6 | C183N6 | 506-26-3 | µmol/L
Fatty Acids | PFACID | C20:3n6 | C203N6 | 1783-84-2 | µmol/L
Fatty Acids | PFACID | C20:4n6 | C204N6 | 506-32-1 | µmol/L
Fatty Acids | PFACID | C20:5n3 | C205N3 | 10417-94-4 | µmol/L
Fatty Acids | PFACID | C22:0 | C220 | 112-85-6 | µmol/L
Fatty Acids | PFACID | C22:4n6 | C224N6 | 122068-08-0 | µmol/L
Fatty Acids | PFACID | C22:5n3 | C225N3 | 24880-45-3 | µmol/L
Fatty Acids | PFACID | C22:6n3 | C226N3 | 6217-54-5 | µmol/L
Fatty Acids | PFACID | C24:0 | C240 | 557-59-5 | µmol/L
Fatty Acids | PFACID | C24:1n9 | C241N9 | 506-37-6 | µmol/L
Organochlorine Pesticides | SOC | alpha-hexachlorocyclohexane | AHCH | 319-84-6 | ng/mL
Organochlorine Pesticides | SOC | beta-hexachlorocyclohexane | BHCH | 319-85-7 | ng/mL
Organochlorine Pesticides | SOC | cis-Chlordane | CCHL | 5103-71-9 | ng/mL
Organochlorine Pesticides | SOC | cis-Nonachlor | CNON | 5103-73-1 | ng/mL
Organochlorine Pesticides | SOC | gamma-hexachlorocyclohexane | GHCH | 58-89-9 | ng/mL
Organochlorine Pesticides | SOC | Hexachlorobenzene | HCB | 118-74-1 | ng/mL
Organochlorine Pesticides | SOC | Mirex | MIREX | 2385-85-5 | ng/mL
Organochlorine Pesticides | SOC | 2,4'-DDT | OPDDT | 789-02-6 | ng/mL
Organochlorine Pesticides | SOC | 4,4'-DDE | PPDDE | 72-55-9 | ng/mL
Organochlorine Pesticides | SOC | 4,4'-DDT | PPDDT | 50-29-3 | ng/mL
Organochlorine Pesticides | SOC | trans-Chlordane | TCHL | 5103-74-2 | ng/mL
Organochlorine Pesticides | SOC | trans-Nonachlor | TNON | 39765-80-5 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Bis(2-chloroethyl) phosphate | BCETP | 3040-56-0 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Bis(1-chloro-2-propyl) phosphate | BCPP | 789440-10-4 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Bis(1,3-dichloro-2-propyl) phosphate | BDCPP | 789440-10-4 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Dibutyl phosphate | DBUP | 107-66-4 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Dibenzyl phosphate | DBZP | 1623-08-1 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Di-o-cresylphosphate | DOCP | 35787-74-7 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Di-p-cresylphosphate | DPCP | 843-24-3 | ng/mL
Organophosphorus Flame Retardants | UOPFR | Diphenyl phosphate | DPHP | 838-85-7 | ng/mL
Organophosphorus Flame Retardants | UOPFR | 2,3,4,5-tetrabromobenzoic acid | TBBA | 27581-13-1 | ng/mL
Oxidative Stress Markers | OXID | 8-iso Prostaglandin F2α | F2A8IP |  | ng/mL
Oxidative Stress Markers | OXID | 2,3-dinor-8-iso Prostaglandin F2α | F2A23D |  | ng/mL
Oxidative Stress Markers | OXID | 5-iso Prostaglandin F2α-VI | F2AVI |  | ng/mL
Oxidative Stress Markers | OXID | 8,12-iso-Isoprostane-F2α-VI | F2A12I |  | ng/mL
Polycyclic aromatic hydrocarbons | UPAH | 1-hydroxybenz[a]anthacene | BAA1 | 69847-26-3 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | Benzo[a]pyrene tetraol | BAPT |  | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 1-hydroxybenzo[c]phenanthrene | BCP1 |  | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 2-hydroxybenzo[c]phenanthrene | BCP2 |  | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 3-hydroxybenzo[c]phenanthrene | BCP3 |  | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 1-hydroxychrysene | CHRY1 | 63019-38-5 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 2-hydroxychrysene | CHRY2 | 65945-06-4 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 3-hydroxychrysene | CHRY3 | 63019-39-6 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 4-hydroxychrysene | CHRY4 | 63019-40-9 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 6-hydroxychrysene | CHRY6 | 37515-51-8 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 2-hydroxyfluorene | FLUO2 | 2443-58-5 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 3-hydroxyfluorene | FLUO3 | 6344-67-8 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 9-hydroxyfluorene | FLUO9 | 1689-64-1 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 1-hydroxynaphthalene | NAP1 | 90-15-3 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 2-hydroxynaphthalene | NAP2 | 135-19-3 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 1-hydroxyphenanthrene | PHEN1 | 2433-56-9 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 2-hydroxyphenanthrene | PHEN2 | 605-55-0 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 2-hydroxyphenanthrene + 3-hydroxyphenanthrene | PHEN2PHEN3 |  | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 3-hydroxyphenanthrene | PHEN3 | 605-87-8 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 4-hydroxyphenanthrene | PHEN4 | 7651-86-7 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | 9-hydroxyphenanthrene | PHEN9 | 484-17-3 | ng/L
Polycyclic aromatic hydrocarbons | UPAH | Phenanthrene tetrol | PHET |  | pmol/mL
Polycyclic aromatic hydrocarbons | UPAH | 1-hydroxypyrene | PYR1 | 5315-79-7 | ng/L
Parabens | UPB | Butyl paraben | BuPB | 94-26-8 | ng/mL
Parabens | UPB | Benzyl paraben | BZPB | 94-18-8 | ng/mL
Parabens | UPB | Ethyl paraben | ETPB | 120-47-8 | ng/mL
Parabens | UPB | Heptyl paraben | HEPB | 1085-12-7 | ng/mL
Parabens | UPB | Methyl Paraben | MEPB | 99-76-3 | ng/mL
Parabens | UPB | Propyl paraben | PRPB | 94-13-3 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Ethyl Perfluorooctane sulfonamido acetic acid | NETFOSAA |  | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | N-methyl Perfluorooctane sulfonamido acetic acid | NMFOSAA |  | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorobutanoic acid | PFBA | 375-22-4 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorobutanesulfonic acid | PFBS | 375-73-5 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorodecanoic acid | PFDA | 335-76-2 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorooctanesulfonate | PFDODA |  | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perluoroheptanoic acid | PFHPA | 375-85-9 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorohexanoic acid | PFHXA | 307-24-4 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorohexane-1-sulphonic acid | PFHXS | 355-46-4 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorononanoic acid | PFNA | 375-95-1 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorooctanoic acid | PFOA | 335-67-1 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorooctanesulfonic acid | PFOS | 1763-23-1 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluorooctanesulfonamide | PFOSA | 754-91-6 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluoro-n-pentanoic acid | PFPEA | 2706-90-3 | ng/mL
Perfluoroakyl and Polyfluoroalkyl Substances | SPFAS | Perfluroundecanoic acid | PFUNDA | 2058-94-8 | ng/mL
Phenols | UPHENOL | Benzophenone-1 | BP1 | 131-56-6 | ng/mL
Phenols | UPHENOL | 2,2',4,4'-tetrahydroxybenzophenone | BP2 | 131-55-5 | ng/mL
Phenols | UPHENOL | Benzophenone-3 | BP3 | 131-57-7 | ng/mL
Phenols | UPHENOL | 2,2'-dihydroxy-methoxybenzophenone | BP8 | 131-53-3 | ng/mL
Phenols | UPHENOL | Bisphenol A | BPA | 80-05-7 | ng/mL
Phenols | UPHENOL | 4,4'-(hexafluoroisopropylidene)-dephenol | BPAF | 1478-61-1 | ng/mL
Phenols | UPHENOL | 4,4'-(1-phenylethylidene)bisphenol | BPAP | 1571-75-1 | ng/mL
Phenols | UPHENOL | 2,2'-bis(4-hydroxyphenyl)butane | BPB | 77-40-7 | ng/mL
Phenols | UPHENOL | Bisphenol F | BPF | 620-92-8 | ng/mL
Phenols | UPHENOL | 4,4′-(1,4-Phenylenediisopropylidene)bisphenol | BPP | 2167-51-3 | ng/mL
Phenols | UPHENOL | Bisphenol S | BPS | 80-09-1 | ng/mL
Phenols | UPHENOL | 4,4'-cyclo-hexylidenebisphenol | BPZ | 843-55-0 | ng/mL
Phenols | UPHENOL | 2,4-Dichlorophenol | DCP24 | 120-83-2 | ng/mL
Phenols | UPHENOL | 2,5-Dichlorophenol | DCP25 | 583-78-8 | ng/mL
Phenols | UPHENOL | 3,4-Dihydroxy benzoic acid | DHB34 | 99-50-3 | ng/mL
Phenols | UPHENOL | 4-Hydroxybenzoic acid | HB4 | 99-96-7 | ng/mL
Phenols | UPHENOL | 2-Chlorophenol | MCP2 | 95-57-8 | ng/mL
Phenols | UPHENOL | 3-Chlorophenol | MCP3 | 108-43-0 | ng/mL
Phenols | UPHENOL | 4-Chlorophenol | MCP4 | 106-48-9 | ng/mL
Phenols | UPHENOL | 4-hydroxybenzophenone | OH4BP | 1137-42-4 | ng/mL
Phenols | UPHENOL | Protocatechuic acid ethyl ester | OHETP | 3943-89-3 | ng/mL
Phenols | UPHENOL | 3,4-Dihydroxy-benzoic acid methyl ester | OHMEP | 2150-43-8 | ng/mL
Phenols | UPHENOL | Oxybenzone (phenyl 13C6, 99%) 100 ug/mL in Acetonitrile | OXB |  | ng/mL
Phenols | UPHENOL | Pentachlorophenol | PCP | 87-86-5 | ng/mL
Phenols | UPHENOL | Triclocarban | TCC | 101-20-2 | ng/mL
Phenols | UPHENOL | 2,4,5-Trichlorophenol | TCP245 | 95-95-4 | ng/mL
Phenols | UPHENOL | 2,4,6-Trichlorophenol | TCP246 | 88-06-2 | ng/mL
Phenols | UPHENOL | Triclosan | TCS | 3380-34-5 | ng/mL
Phenols | UPHENOL | 2,3,4,5-Tetrachlorophenol | TECP2345 | 4901-51-3 | ng/mL
Phenols | UPHENOL | 2,3,4,6-Tetrachlorophenol | TECP2346 | 58-90-2 | ng/mL
Phenols | UPHENOL | 2,3,5,6-Tetrachlorophenol | TECP2356 | 935-95-5 | ng/mL
Phenols | UPHENOL | 2,4,5,6-Tetrachlorophenol | TECP2456 |  | ng/mL
Phthalates | UPHTH | 2-(((7-Carboxy-4-methylheptyl)oxy)carbonyl)cyclohexanecarboxylic Acid | CXMINCH | 1637562-51-6 | ng/mL
Phthalates | UPHTH | mono-benzyl phthalate | MBZP | 2528-16-7 | ng/mL
Phthalates | UPHTH | mono (5-carboxy-2-ethylpentyl) phthalate (DEHP) | MCEPP |  | ng/mL
Phthalates | UPHTH | monocyclohexyl phthalate | MCHP | 7517-36-4 | ng/mL
Phthalates | UPHTH | mono(7-carboxyheptyl)phthalate | MCHPP | 856869-57-3 | ng/mL
Phthalates | UPHTH | mono-carboxy isononyl phthalate | MCINP |  | ng/mL
Phthalates | UPHTH | mono-carboxy isooctyl phthalate | MCIOP |  | ng/mL
Phthalates | UPHTH | mono-2-(carboxymethyl) hexyl phthalate | MCMHP | 82975-93-7 | ng/mL
Phthalates | UPHTH | Cyclohexane-1,2-dicarboxylic acid mono carboxyisooctyl ester (DINCH) | MCOCH |  | ng/mL
Phthalates | UPHTH | mono (6-COOH-2-methylheptyl) phthalate | MCOMHP |  | ng/mL
Phthalates | UPHTH | mono (7-COOH-2-methyloctyl) phthalate | MCOMOP | 1373125-93-9 | ng/mL
Phthalates | UPHTH | mono-carboxy octyl phthalate | MCOP |  | ng/mL
Phthalates | UPHTH | mono (3-carboxypropyl) phthalate (multiple) | MCPP | 66851-46-5 | ng/mL
Phthalates | UPHTH | mono-(2-ethyl-5-carboxypentyl) phthalate | MECPP | 40809-41-4 | ng/mL
Phthalates | UPHTH | mono-2-ethyl-5- carboxypentyl terephthalate (DEHTP) | MECPTP |  | ng/mL
Phthalates | UPHTH | mono (2-ethyl-5-hydroxyhexyl) phthalate | MEHHP | 40321-99-1 | ng/mL
Phthalates | UPHTH | mono-2-ethyl-5-hydroxyhexyl terephthalate (DEHTP) | MEHHTP |  | ng/mL
Phthalates | UPHTH | mono ethyl hexyl phthalate | MEHP | 4376-20-9 | ng/mL
Phthalates | UPHTH | mono-(2-ethylhexyl) terephthalate | MEHTP |  | ng/mL
Phthalates | UPHTH | mono (2-ethyl-5-oxohexyl) phthalate | MEOHP | 40321-98-0 | ng/mL
Phthalates | UPHTH | mono-2-ethyl-5-oxohexylterephthalate | MEOHTP |  | ng/mL
Phthalates | UPHTH | monoethyl phthalate (DEP) | MEP | 2306-33-4 | ng/mL
Phthalates | UPHTH | Cyclohexane-1,2-dicarboxylic acid mono hydroxyisononyl ester (DINCH) | MHNCH |  | ng/mL
Phthalates | UPHTH | mono-2-heptyl phthalate | MHPP |  | ng/mL
Phthalates | UPHTH | mono-hexyl phthalate | MHXP | 24539-57-9 | ng/mL
Phthalates | UPHTH | mono-isobutyl phthalate (DiBP) | MIBP | 30833-53-5 | ng/mL
Phthalates | UPHTH | mono-isodecyl phthalate | MIDP | 31047-64-0 | ng/mL
Phthalates | UPHTH | mono-isononyl phthalate | MINP |  | ng/mL
Phthalates | UPHTH | mono-isopropyl phthalate | MIPP | 35118-50-4 | ng/mL
Phthalates | UPHTH | mono-methyl phthalate | MMP | 4376-18-5 | ng/mL
Phthalates | UPHTH | mono-n-butylphthalate (BzBP, DnBP) | MNBP | 34-74-2 | ng/mL
Phthalates | UPHTH | monooxoisononyl phthalate (DiNP) | MONP |  | ng/mL
Phthalates | UPHTH | mono-n-octyl phthalate | MOP | 5393-19-1 | ng/mL
Phthalates | UPHTH | mono-pentyl phthalate | MPEP | 24539-56-8 | ng/mL
Phthalates | UPHTH | 2-(((Hydroxy-4-methyloctyl)oxy)carbonyl)cyclohexanecarboxylic Acid | OHMINCH | 1637562-52-7 | ng/mL
Phthalates | UPHTH | phthalic acid | PA | 88-99-3 | ng/mL
Polychlorinated biphenyls | SPCB | PCB101 | PCB101 | 37680-73-2 | ng/mL
Polychlorinated biphenyls | SPCB | PCB118 | PCB118 | 31508-00-6 | ng/mL
Polychlorinated biphenyls | SPCB | PCB138 | PCB138 | 35065-28-2 | ng/mL
Polychlorinated biphenyls | SPCB | PCB153 | PCB153 | 35065-27-1 | ng/mL
Polychlorinated biphenyls | SPCB | PCB180 | PCB180 | 35065-29-3 | ng/mL
Polychlorinated biphenyls | SPCB | PCB28 | PCB28 | 7012-37-5 | ng/mL
Polychlorinated biphenyls | SPCB | PCB52 | PCB52 | 35693-99-3 | ng/mL
Tobacco Metabolites | USMOKE | Anatabine | ANAT | 581-49-7 | ng/mL
Tobacco Metabolites | USMOKE | Cotinine (free) | COT |  | ng/mL
Tobacco Metabolites | USMOKE | Cotinine (total) | COTT | 486-56-6 | ng/mL
Tobacco Metabolites | USMOKE | 3'-hydroxycotinine (free) | HCOT | 34834-67-8 | ng/mL
Tobacco Metabolites | USMOKE | 3'-hydroxycotinine (total) | HCOTT |  | ng/mL
Tobacco Metabolites | USMOKE | Nicotine (free) | NIC |  | ng/mL
Tobacco Metabolites | USMOKE | Nicotine-N-oxide - urine | NICO | 2820-55-5 | ng/mL
Tobacco Metabolites | USMOKE | Nicotine (total) | NICT | 54-11-5 | ng/mL
Tobacco Metabolites | USMOKE | 4-(methlynitrosamino)-1-(3-pyridyl)-1-butanol | NNAL | 76014-81-8 | pmol/mL
Tobacco Metabolites | USMOKE | Nornicotine | NORN | 5746-86-1 | ng/mL
Tobacco Metabolites | USMOKE | Total nicotine equivalents - urine, blood | TNIC |  | ng/mL
Trace Elements in blood | BTE | Aluminum | Al | 7429-90-5 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Arsenic | As | 7440-38-2 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Barium | Ba | 7440-39-3 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Cesium | Cs | 7440-46-2 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Cadmium | Cd | 7440-43-9 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Cobalt | Co | 7440-48-4 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Chromium | Cr | 7440-47-3 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Copper | Cu | 7440-50-8 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Mercury | Hg | 7439-97-6 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Magnesium | Mg | 7439-95-4 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Manganese | Mn | 7439-96-5 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Molybdenum | Mo | 7439-98-7 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Nickel | Ni | 7440-02-0 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Lead | Pb | 7439-92-1 | µg/dL | RBC : ng/g
Trace Elements in blood | BTE | Selenium | Se | 7782-49-2 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Tin | Sn | 7440-31-5 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Thallium | Tl | 7440-28-0 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Vanadium | V | 7440-62-2 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Zinc | Zn | 7440-66-6 | ng/mL | RBC : ng/g
Trace Elements in blood | BTE | Antimony | Sb | 7440-36-0 | ng/mL | RBC : ng/g
Trace Elements in urine | UTE | Silver | Ag | 7440-22-4 | ng/mL
Trace Elements in urine | UTE | Aluminum | Al |  | ng/mL
Trace Elements in urine | UTE | Arsenic | As |  | ng/mL
Trace Elements in urine | UTE | Barium | Ba |  | ng/mL
Trace Elements in urine | UTE | Beryllium | Be | 7440-41-7 | ng/mL
Trace Elements in urine | UTE | Bismuth | Bi | 7440-69-9 | ng/mL
Trace Elements in urine | UTE | Cadmium | Cd |  | ng/mL
Trace Elements in urine | UTE | Cobalt | Co |  | ng/mL
Trace Elements in urine | UTE | Chromium | Cr |  | ng/mL
Trace Elements in urine | UTE | Caesium | Cs |  | ng/mL
Trace Elements in urine | UTE | Copper | Cu |  | ng/mL
Trace Elements in urine | UTE | Mercury | Hg |  | ng/mL
Trace Elements in urine | UTE | Iodine | I | 7553-56-2 | ng/mL
Trace Elements in urine | UTE | Lithium | Li | 7439-93-2 | ng/mL
Trace Elements in urine | UTE | Manganese | Mn |  | ng/mL
Trace Elements in urine | UTE | Molybdenum | Mo |  | ng/mL
Trace Elements in urine | UTE | Nickel | Ni |  | ng/mL
Trace Elements in urine | UTE | Lead | Pb |  | ng/mL
Trace Elements in urine | UTE | Platinum | Pt | 7440-06-4 | ng/mL
Trace Elements in urine | UTE | Antimony | Sb |  | ng/mL
Trace Elements in urine | UTE | Tin | Sn |  | ng/mL
Trace Elements in urine | UTE | Strontium | Sr | 7440-24-6 | ng/mL
Trace Elements in urine | UTE | Tellurium | Te | 13494-80-9 | ng/mL
Trace Elements in urine | UTE | Titanium | Ti | 7440-32-6 | ng/mL
Trace Elements in urine | UTE | Thallium | Tl |  | ng/mL
Trace Elements in urine | UTE | Uranium | U | 7440-61-1 | ng/mL
Trace Elements in urine | UTE | Vanadium | V |  | ng/mL
Trace Elements in urine | UTE | Tungsten | W | 7440-33-7 | ng/mL
Trace Elements in urine | UTE | Zinc | Zn |  | ng/mL
Urinary Dilution Factor | UDILUTE | Creatinine | CRE | 60-27-5 | mg/dL
Urinary Dilution Factor | UDILUTE | Specific Gravity | SG |  | kg/m3
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-carbamoylethyl)-L-cysteine | AAMA | 81690-92-8 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(N-methylcarbamoyl)-L-cysteine | AMCC | 103974-29-4 | pmol/mL
Volatile Organic Compounds | VOCs | 2-Aminothiazoline-4-carboxylic acid | ATCA | 2150-55-2 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(benzyl)-L-cysteine | BMA |  | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(n-propyl)-L-cysteine | BPMA |  | pmol/mL
Volatile Organic Compounds | VOCs | Benzene | BZ | 71-43-2 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S- (2-carboxyethyl)-L-cysteine | CEMA | 51868-61-2 | pmol/mL
Volatile Organic Compounds | VOCs | Chloroform | CFRM | 67-66-3 | pmol/mL
Volatile Organic Compounds | VOCs | Carbon Tetrachloride | CTET | 56-23-5 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-cyanoethyl)-L-cysteine | CYMA | 74514-75-3 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(1,2-dichlorovinyl)-L-cysteine | DCVMA12 | 2148-31-4 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2,2-dichlorovinyl)-L-cysteine | DCVMA22 | 126543-43-9 | pmol/mL
Volatile Organic Compounds | VOCs | 1,2-Dichloroethane | DE12 | 107-06-2 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S- (3,4-dihydroxybutyl)-L-cysteine | DHBMA | 144889-50-9 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2,4-dimethylphenyl)-L-cysteine + N-Acetyl-S-(2,5-dimethylphenyl)-L-cysteine + N-Acetyl-S-(3,4-dimethylphenyl)-L-cysteine | DPMA |  | pmol/mL
Volatile Organic Compounds | VOCs | Ethylbenzene | EB | 100-41-4 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-carbamoyl-2-hydroxyethyl)-L-cysteine | GAMA |  | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S- (2-hydroxyethyl)-L-cysteine | HEMA2 | 15060-26-1 | pmol/mL
Volatile Organic Compounds | VOCs | 3-Hydroxypropyl-1-methyl mercapturic acid + 3-Hydroxypropyl-2-methyl mercapturic acid + 3-Hydroxypropyl-3-methyl mercapturic acid | HMPMA |  | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S- (3-hydroxypropyl)-L-cysteine | HPMA | 23127-40-4 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-hydroxypropyl)-L-cysteine | HPMA2 |  | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(3-hydroxypropyl-1-methyl)-L-cysteine | HPMMA |  | pmol/mL
Volatile Organic Compounds | VOCs | Mandelic acid | MA | 90-64-2 | pmol/mL
Volatile Organic Compounds | VOCs | 2-Methylhippuric acid | MHA2 | 42013-20-7 | pmol/mL
Volatile Organic Compounds | VOCs | 3-Methylhippuric acid + 4-Methylhippuric acid | MHA34 |  | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(1-hydroxymethyl-2-propenyl)-L-cysteine | MHBMA1 | 144889-51-0 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(2-hydroxy-3-butenyl)-L-cysteine | MHBMA2 | 159092-64-5 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(4-hydroxy-2-buten-1-yl)-L-cysteine | MHBMA3 | 159092-65-6 | pmol/mL
Volatile Organic Compounds | VOCs | trans, trans -Muconic acid | MU | 3588-17-8 | pmol/mL
Volatile Organic Compounds | VOCs | m-Xylene | MXY | 108-38-3 | pmol/mL
Volatile Organic Compounds | VOCs | o-Xylene | OXY | 95-47-6 | pmol/mL
Volatile Organic Compounds | VOCs | Phenylglyoxylic acid | PGA | 611-73-4 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(1-phenyl-2-hydroxyethyl-L-cysteine + N-Acetyl-S-(2-phenyl-2-hydroxyethyl)-L-cysteine | PHEMA |  | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(phenyl)-L-cysteine | PMA |  | pmol/mL
Volatile Organic Compounds | VOCs | p-Xylene | PXY | 106-42-3 | pmol/mL
Volatile Organic Compounds | VOCs | Styrene | STY | 100-42-5 | pmol/mL
Volatile Organic Compounds | VOCs | Tetrachloroethene | TCE | 127-18-4 | pmol/mL
Volatile Organic Compounds | VOCs | N-Acetyl-S-(trichlorovinyl)-L-cysteine | TCVMA | 111348-61-9 | pmol/mL
Volatile Organic Compounds | VOCs | Toluene | TOL | 108-88-3 | pmol/mL
Volatile Organic Compounds | VOCs | 2-Thioxothiazolidine-4-carboxylic acid | TTCA | 20933-67-9 | pmol/mL
Volatile Organic Compounds | VOCs | N-ace-S-(phenl-2-hydxyetl)-L-cys(ng/mL) | VOCPHE |  | pmol/mL

## Analyte Codes ENVIRO
Full Chemical Group Name | Chemical Group Code | Full Analyte Name | Analyte Code | CAS # | AS Required Units | DW/SGW Required Units | HD Required Units | SS Required Unit | SW Required Units
Brominated Flame Retardants (Environmental) | EBFR | 2,4,4'-Tribromodiphenyl ether | BDE28 | 41318-75-6 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',4,4'-Tetrabromodiphenyl ether | BDE47 | 5436-43-1 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,3',4,4'-Tetrabromodiphenyl ether | BDE66 | 189084-61-5 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',3,4,4'-Pentabromodiphenyl ether | BDE85 | 182346-21-0 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',4,4',5-Pentabromodiphenyl ether | BDE99 | 60348-60-9 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',4,4',6-Pentabromodiphenyl ether | BDE100 | 189084-64-8 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',4,4',5,5'-Hexabromodiphenyl ether | BDE153 | 68631-49-2 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',4,4',5,6'-Hexabromodiphenyl ether | BDE154 | 207122-15-4 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',3,4,4',5',6-Heptabromodiphenyl ether | BDE183 | 207122-16-5 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2,2',3,3',4,4',5,5',6,6'-Decabromodiphenyl ether | BDE209 | 1163-19-5 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | Octabromotrimethylphenylindane | OBIND | 155613-93-7 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | Bistribromophenoxyethane | BTBPE | 37853-59-1 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | 2-ethyl hexyl-2,3,4,5-tetrabromobenzoate | EHTBB | 183658-27-7 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | Bis (2-ethyl hexyl)-2,3,4,5-tetrabromophthalate | BEHTBP | 26040-51-7 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | Tris (2,3-dibromopropyl) isocyanurate | TDBPIC | 52434-90-9 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | Tetrabromobisphenol A | TBBPA | 79-94-7 | ng/sample | NA | ng/g | ng/g | ng/g
Brominated Flame Retardants (Environmental) | EBFR | Hexabromocyclododecane (3 diasteromers) | HBBCD | 3194-55-6 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Bis (2,4-diisopropylphenyl) phenyl phosphate | B24DIPPPP | 2190501-29-0 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Bis(2-isopropylphenyl) phenyl phosphate | B2IPPPP | 69500-29-4 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Bis (3-isopropylphenyl) phenyl phosphate | B3IPPPP | 69500-30-7 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Bis (4-isopopylphenyl) phenyl phosphate | B4IPPPP | 55864-07-8 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | bis(4-tert-butylphenyl) phenyl phosphate | B4TBPPP | 115-87-7 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | 2-Ethylhexyl diphenyl phosphate | EHDPP | 1241-94-7 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Isodecyl diphenyl phosphate | IDDPP | 29761-21-5 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | 2-Isopropylphenyl diphenyl phosphate | IPPDPP2 | 64532-94-4 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | 3-Isopropylphenyl diphenyl phosphate | IPPDPP3 | 69515-46-4 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | 4-Isopropylphenyl dipheynyl phosphate | IPPDPP4 | 55864-04-5 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris(3-isopropylphenyl) phosphate | T3IPPP | 72668-27-0 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris(4-isopropylphenyl) phosphate | T4IPPP | 26967-76-0 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | 2-tert-butylphenyl diphenyl phosphate | BPDPP2T | 83242-23-3 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | bis(2-tert-butylphenyl) phenyl phosphate | B2TBPPP | 65652-41-7 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris(2 4-di-tert-butylphenyl) phosphate | T24TBPPP | 95906-11-9 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris(4-tert-butylphenyl) phosphate | T4TBPP | 78-33-1 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tri-(2-butoxyethyl)-phosphate | TBOEP | 78-51-3 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | 4-tert-butylphenyl diphenyl phosphate | TBPDPP | 981-40-8 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris (2-chloro-ethyl) phosphate | TCEP | 115-96-8 | ng/sample | ng/L | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris (1-chloro-isopropyl) phosphate | TCPP | 13674-84-5 | ng/sample | ng/L | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris (2,4-dichloro-isopropyl) phosphate | TDCPP | 13674-87-8 | ng/sample | ng/L | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris(3,5-dimethyl phenyl) phosphate | TDMPP | 9006-37-5 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tris(2-ethylhexyl) phosphate | TEHP | 78-42-2 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Triethyl phosphate | TEP | 78-40-0 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tri-iso-butyl-phosphate | TIBP | 126-71-6 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Triisopropyl phosphate | TIPP | 513-02-0 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tri-m-cresyl phosphate | TMCP | 563-04-2 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tri-n-butyl-phosphate | TNBP | 126-73-8 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tri-o-cresyl phosphate | TOCP | 78-30-8 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tri-p-cresyl phosphate | TPCP | 78-32-0 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Triphenyl phosphate | TPHP | 115-86-6 | ng/sample | ng/L | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tripentyl phosphate | TPP | 2528-38-3 | ng/sample | NA | ng/g | ng/g | ng/g
Organophosphates (Environmental) | EOP | Tripropyl phosphate | TPRP | 513-08-06 | ng/sample | NA | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorobutanesulfonic acid | PFBS | 375-73-5 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluoropentanesulfonic acid | PFPES | 2706-91-4 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorohexanesulfonic acid | PFHXS | 355-46-4 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluoroheptanesulfonic acid | PFHPS | 375-92-8 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorooctanesulfonic acid | PFOS | 1763-23-1 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorononanesulfonic acid | PFNS | 68259-12-1 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorodecanesulfonic acid | PFDS | 2806-15-7 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorododecanesulfonic acid | PFDOS | 79780-39-5 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorobutanoic acid | PFBA | 375-22-4 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluoropentanoic acid | PFPEA | 2706-90-3 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorohexanoic acid | PFHXA | 307-24-4 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluoroheptanoic acid | PFHPA | 375-85-9 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorooctanoic acid | PFOA | 335-67-1 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorononanoic acid | PFNA | 375-95-1 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorodecanoic acid | PFDA | 335-76-2 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluoroundecanoic acid | PFUNDA | 2058-94-8 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorododecanoic acid | PFDODA | 307-55-1 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorotridecanoic acid | PFTRDA | 72629-94-8 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorotetradecanoic acid | PFTEDA | 376-06-7 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluorohexadecanoic acid | PFHXDA | 67905-19-5 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | Perfluoro-2-propoxypropanoic acid | GENX | 13252-13-6 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 4:2 Fluorotelomer sulfonic acid | PTSA42 | 757124-22-4 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 6:2 Fluorotelomer sulfonic acid | PTSA62 | 27619-97-2 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 8:2 Fluorotelomer phosphate diester | DIPAP82 | 678-41-1 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 6:2 Fluorotelomer phosphate diester | DIPAP62 | 57677-95-9 | NA | ng/L | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 2-Perfluorohexyl ethanol | FTOH062 | 647-42-7 | ng/sample | NA | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 2-Perfluorooctyl ethanol | FTOH082 | 678-39-7 | ng/sample | NA | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 2-Perfluorodecyl ethanol | FTOH102 | 865-86-1 | ng/sample | NA | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | N-methyl perfluorooctane sulfonamido ethanol | MEFOSE | 24448-09-7 | ng/sample | NA | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | N-ethyl perfluooctane sulfonamido ethanol | ETFOSE | 1691-99-2 | ng/sample | NA | ng/g | ng/g | ng/g
Perfluoroakyl and Polyfluoroalkyl Substances (Environmental) | EPFAS | 2-Perfluorooctyl ethyl acrylate | FTAC82 | 27905-45-9 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Cis-Chlordane | CCHL | 5103-71-9 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Trans-Chlordane | TCHL | 5103-74-2 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | chlorfenapyr | CHLFEN | 122453-73-0 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Chlorpyrifos | CHLPYR | 2921-88-2 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Permethrin (cis) | CPERM | 61949-76-6 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Permethrin (trans) | TPERM | 61949-77-7 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | cypermethrin* (mixed stereoisomers) | CYPERM | 52315-07-8 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Fipronil | FIPR | 120068-37-3 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Lindane | LIND | 58-89-9 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Imidacloprid | IMID | 138261-41-3 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Atrazine | ATRAZ | 1912-24-9 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Malathion | MALATH | 121-75-5 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | pyraclostrobin | PCLOS | 175013-18-0 | ng/sample | NA | ng/g | ng/g | ng/g
Pesticides (Environmental) | EPEST | Azoxystrobin | AZOXY | 131860-33-8 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | Bisphenol A | BPA | 80-05-7 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | 2,4 dibromophenol | DBP24 | 615-58-7 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | 2,3,5-tribromophenol | TBP235 | 57383-81-0 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | 2,4,5-tribromophenol | TBP245 | 14401-61-7 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | 2,4,6-tribromophenol | TBP246 | 118-79-6 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | Triclocarban | TCC | 101-20-2 | ng/sample | NA | ng/g | ng/g | ng/g
Phenols (Environmental) | EPHENOL | Triclosan | TCS | 3380-34-5 | ng/sample | NA | ng/g | ng/g | ng/g
Parabens (Environmental) | EPB | Butyl paraben | BUPB | 94-26-8 | ng/sample | NA | ng/g | ng/g | ng/g
Parabens (Environmental) | EPB | Ethyl paraben | ETPB | 120-47-8 | ng/sample | NA | ng/g | ng/g | ng/g
Parabens (Environmental) | EPB | Methyl Paraben | MEPB | 99-76-3 | ng/sample | NA | ng/g | ng/g | ng/g
Parabens (Environmental) | EPB | Propyl paraben | PRPB | 94-13-3 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | di-methyl phthalate | DMPH | 131-11-3 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | di-ethyl phthalate | DEPH | 84-66-2 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | benzyl butyl phthalate | BBP | 85-68-7 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | dibutyl phthalate | DBPHTH | 84-74-2 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | Bis (2-ethylhexyl) adipate | DEHA | 103-23-1 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | Bis(2-ethylhexyl) phthalate | DEHP | 117-81-7 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | Bis (2-ethylhexyl) terephthalate | DEHT | 6422-86-2 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | di-isobutyl phthalate | DIBP | 84-69-5 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | di-isononyl phthalate | DINP | 68515-48-0 | ng/sample | NA | ng/g | ng/g | ng/g
Phthalates (Environmental) | EPHTH | trioctylmetallitate | TOTM | 3319-31-1 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Naphthalene | NAP | 91-20-3 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Acenapthene | ACEN | 83-32-9 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Acenaphthylene | ACENY | 208-96-8 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Anthracene | ANTH | 120-12-7 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Benzo[a]pyrene | BAP | 50-32-8 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Benzo[b,k,a]fluoranthene | BBF | [b]205-99-2 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | 1,2 Benzanthracene (Benz[a]anthracene) | BENZAANTH | 56-55-3 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Benzo[e]pyrene | BEP | 192-97-2 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Chrysene | CHRYSENE | 218-01-9 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Fluoranthene | FLUORANTH | 206-44-0 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Fluorene | FLUORENE | 86-73-7 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Perylene | PERYLENE | 198-55-0 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Phenanthrene | PHENANTHRENE | 85-01-8 | ng/sample | NA | ng/g | ng/g | ng/g
Polycyclic aromatic hydrocarbons (Environmental) | EPAH | Pyrene | PYRENE | 129-00-0 | ng/sample | NA | ng/g | ng/g | ng/g
Tobacco (Environmental) | ESMOKE | Nicotine (total) | NICT | 54-11-5 | NA | NA | NA | NA | ng/g
Rare Earth Elements (Environmental) | EREE | Cerium | Ce |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Dysprosium | Dy |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Erbium | Er |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Europium | Eu |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Gadolinium | Gd |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Holmium | Ho |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Lanthanum | La |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Lutetium | Lu |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Neodymium | Nd |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Praseodymium | Pr |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Scandium | Sc |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Samarium | Sm |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Terbium | Tb |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Thulium | Tm |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Yttrium | Y |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Rare Earth Elements (Environmental) | EREE | Ytterbium | Yb |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Silver | Ag |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Aluminum | Al |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Arsenic | As |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Barium | Ba |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Beryllium | Be |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Bismuth | Bi |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Cadmium | Cd |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Cobalt | Co |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Chromium | Cr |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Cesium | Cs |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Copper | Cu |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Mercury | Hg |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Lithium | Li |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Magnesium | Mg |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Manganese | Mn |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Molybdenum | Mo |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Nickel | Ni |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Lead | Pb |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Platinum | Pt |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Antimony | Sb |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Selenium | Se |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Tin | Sn |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Strontium | Sr |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Tellurium | Te |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Thallium | Tl |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Uranium | U |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Vanadium | V |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Tungsten | W |  | ug/ sample | ng/mL | ug/g | ug/g | NA
Trace Elements (Environmental) | ETE | Zinc | Zn |  | ug/ sample | ng/mL | ug/g | ug/g | NA

## Comment Codes
Code* | Meaning | Comment | *based upon NHANES comment codes (ones most commonly used highlighted)
0 | valid measurement | included on every valid measurement
1 | Slightly hemolyzed
2 | Moderately hemolyzed
3 | Markedly hemolyzed
4 | Icteric
5 | Turbid
6 | Very turbid
7 | Lipemic
8 | Lipemic sample, clarified before running
10 | Cellular debris present
11 | Small clot present
12 | Run out-of-contol; insufficient sample for repeat analysis | leave concentration field blank
13 | Fibrin present
14 | Red blood cells present
15 | Interfering substances present | used primarily when ion ratios are outside of prescribed range
16 | Urine grossly hematuric
17 | quantity of sample insufficient for analysis
18 | Quantity of sample insufficient for repeat analysis
19 | Sample integrity/quality compromised preventing analysis
29 | Sample older than 2 weeks
31 | Cyclomicrons present
32 | Dilution required
33 | Result repeated and confirmed | if result appears different from what is expected
34 | Unusually high
35 | Unusual color
37 | Value less than LOD | put the concentration (even if below LOD) in the concentration field
38 | Analyzed at a later date than rest of samples on worksheet (not a repeat)
39 | Short sample; sample probe picked up incomplete volume first time
49 | thawed and clotted
50 | thawed and hemolyzed (covers all three levels)
51 | thawed, hemolyzed (covers all three levels) and exposed to light
53 | Hemolyzed (covers all three levels), lipemic, and icteric
54 | Hemolyzed (covers all three levels) and contaminated
55 | Hemolyzed (covers all three levels) and debris present
56 | Hemolyzed (covers all three levels) and lipemic
57 | Lab confirmed result
58 | did not precipitate
59 | Lipemic and turbid
62 | Sample frozen
63 | No Hct, Hct=40 assumed
73 | Panel change
78 | Failed negative control
79 | Failed positive control
82 | Partial match
84 | Greater than 99th percentile
85 | Mitest not capped
86 | Torn, perforated screen
87 | Broken Mitest
88 | Torn bag (Mitest intact, capped)
89 | Overloaded filter
90 | Abnormal hemoglobin variant observed
91 | Obvious coarse debris
92 | Predominantly fibrous material
93 | Initial concentration higher than the highest standard
94 | Specimen analyzed with less than normal quantity
95 | Specimen analyzed in singlicate for an assay that requires duplicates
96 | No FOL result; FOL = 8 ng/mL assumed
97 | Result repeated with diluted sample | if a sample is diluted to bring within calibration range
104 | Detectable
114 | Result reported based on fewer replicates than required
115 | Specimen analyzed with less than usual dilution
122 | Samples Arrived Thawed and Analyzed
124 | HUC sample having discrepancy between fluorometer results and semi quantative Albustix test results
128 | No preservative added
129 | Irregular result, no concentration reported
130 | Value above LOD but below LLOQ
131 | Value greater than ULOQ
199 | Value below LLOQ, no LOD provided
200 | Valid measurement, results repeated and confirmed (0,33)
201 | Below LOD, results repeated and confirmed (37,33)
210 | Initial concentration higher than the highest standard, insufficient volume for repeat analysis (93, 18)